UNIVERSITY OF WISCONSIN-PARKSIDE

HAZARDOUS WASTE MANAGEMENT PROGRAM

Table of Contents

1.	PURPOSE	3

2.	RESPONSIBILITIES	3

2.1	ADMINISTRATION	3

2.2	PRINCIPAL INVESTIGATORS	3

2.3	FACULTY AND STAFF	3

2.4	HEALTH AND SAFETY/RISK MANAGEMENT	3

3.	WASTE DETERMINATION	4

3.1	HAZARDOUS WASTE	4

3.1.1	Characteristic Wastes	4

3.1.2	Listed  Wastes	4

3.2	SPECIAL AND UNIVERSAL WASTES	5

3.2.1	Batteries	5

3.2.2	Fluorescent Lamps	6

3.2.3	Lighting Ballasts	6

3.2.4	Used Oil and Oil Filters	6

3.2.5	Used Antifreeze	6

3.2.6	Infectious Waste	6

4.	0 WASTE MINIMIZATION	7

4.1	BASIC CONCEPTS	7

4.2	NEUTRALIZATION OF ACIDS AND BASES	7

4.3	REUSE/REDISTRIBUTION	8

5.	WASTE STORAGE	8

5.1	ACCEPTABLE CONTAINERS	8

5.2	LOCATION OF CONTAINERS	8

5.3	LABELING	9

5.4	CONTAINER MANAGEMENT	10

5.5	STORAGE PERIODS	10

5.5.1	Instruction Laboratory Samples and Wastes	10

5.5.2	Research Waste	10

5.5.3	Other	10

6.	WASTE PICKUP AND REMOVAL	11

6.1	SCIENCE DEPARTMENTS	11

6.1.1	Standard Procedures	11

6.1.2	Research Waste	11

6.1.3	Class Samples	11

6.1.4	Expired and Old Chemicals	12

6.1.5	Laboratory/Studio Cleanouts	12

6.2	ART DEPARTMENT HAZARDOUS WASTE	12

6.3	FACILITIES MANAGEMENT AND RESIDENCE LIFE HAZARDOUS WASTE	12

6.4	MISCELLANEOUS	13

7.	TRAINING	13

7.1	FACULTY AND ACADEMIC STAFF	13

7.2	STUDENTS	13

7.3	GRADUATE RESEARCH	14

7.4	FACILITIES MANAGEMENT AND RESIDENCE LIFE STAFF	14

8.	INSPECTIONS	14

8.1	ANNUAL WALKTHROUGHS	14

8.2	REPORTS	14

UNIVERSITY OF WISCONSIN-PARKSIDE

HAZARDOUS WASTE MANAGEMENT PROGRAM

This program provides information on the guidelines and procedures for the proper management of hazardous waste at the University of Wisconsin-Parkside (UWP).  This program also serves to ensure compliance with United States Environmental Protection Agency (USEPA) and Wisconsin Department of Natural Resources (WDNR) regulations pertaining to management of hazardous, special, and universal wastes.

# PURPOSE

This program has been developed to provide specific procedures for the management of hazardous wastes generated at UWP.

# RESPONSIBILITIES

This section describes responsibilities related to hazardous waste management at UWP.

## ADMINISTRATION

Administration is responsible for providing the necessary resources for the proper and compliant management of hazardous wastes generated by all activities at UWP.

## PRINCIPAL INVESTIGATORS

Principal Investigators (PI) are ultimately responsible for the proper collection, storage and pickup of wastes generated within their laboratories.  PIs shall ensure staff and student have received training and instruction related to proper management of hazardous waste generated in their laboratories.

## FACULTY AND STAFF

Responsibilities of faculty and staff creating hazardous waste includes:

- Dispose of waste using the procedures outlined in this program

- Ensure all wastes are packaged and labeled according to this program

- Arrange for prompt removal of full waste containers

## HEALTH AND SAFETY/RISK MANAGEMENT

Health and Safety/Risk Management (H&S/RM) provides for the collection, transportation, storage, and proper disposal of hazardous chemical wastes generated on campus as well as administration of the waste management program including regulatory documentation.  Though primarily focused on small quantities of wastes from laboratories, studios and shops, H&S/RM will also be responsible for coordinating collection and disposal of any bulk wastes and special wastes.

# WASTE DETERMINATION

All wastes must be properly classified to ensure proper disposal.  This section discusses how a waste is classified to determine if it will require special handling and disposal.  Any questions regarding classification of wastes shall be directed to H&S/RM.  H&S/RM reserves the right to make the final determination of a waste’s classification.

## 3.1	HAZARDOUS WASTE

Hazardous wastes constitute a subset of solid waste.  There are specific federal and state specifications for what classifies a waste as “hazardous”.  In general, a hazardous waste may be a “Characteristic Waste” or a specific “Listed Waste”.   WDNR regulations pertaining to the characterization of wastes, and the tables of “Listed Wastes” described below can be found under NR 605 Identification and Listing of Hazardous Wastes at http://www.dnr.state.wi.us/org/aw/wm/information/wiacssh.htm.

### Characteristic Wastes

Characteristics wastes are those that fall within the definition of one of the four categories below:

- Ignitable - a liquid with a flash point less than 140 Fahrenheit, an ignitable compressed gas or oxidizer, or other material that can cause fire through friction, absorption of moisture or spontaneous chemical changes.  Common examples include used oil-based paint, used paint thinner, adhesives and mineral spirits.

- Corrosive – an aqueous solution with a pH less than or equal to 2.0 or greater than or equal to 12.5, or a liquid that corrodes plain carbon steel at a rate greater than 6.35 mm per year.  Examples include waste rust removers and waste battery acids.

- Reactive - a waste that is normally unstable, readily undergoes violent changes without detonating, reacts violently with water, forms a potentially explosive mixture with water, or generates toxic gases or fumes when exposed to pH conditions between 2 and 12.5, is capable of detonation or explosive reaction, or is a forbidden Class A or Class B explosive.

- Toxic - A waste is considered toxic if (according to a specific Toxicity Characteristic Leaching Procedure) it exceeds the regulatory concentration for any of the listed eight metals, six pesticides or 25 organic chemicals. This list includes metals like chromium, lead, mercury, silver and organic chemicals like benzene, chloroform, methyl ethyl ketone, and butadiene.

### 3.1.2	Listed Wastes

Listed wastes fall into four groups.  These listed wastes are found in the four tables in the hazardous waste regulations. Each listed waste has a hazardous waste number which starts with the letter "F", "K", "P", or "U."

- "F" Waste - waste that results from production or waste treatment process, are discarded chemical products or are contaminated with a specific chemical.

- "K" Waste - waste that results from specific production or waste treatment processes. The university rarely has this type of waste.

- "P" Waste - waste chemicals that are considered acutely hazardous when discarded because they can be extremely dangerous to human health or the environment.  Cyanides and arsenic as well as some pesticides are found in this table. "P" wastes are of particular concern since a small quantity of this waste (2.2 pounds) generated in one month can change our classification to a large quantity generator with significantly greater regulatory burden.

- "U" Waste - waste that is considered hazardous but is not an extreme danger to human health or the environment.  Examples include phenol, formalin, chlorobenzene, aniline dyes and carbon tetrachloride.

## 3.2	SPECIAL AND UNIVERSAL WASTES

Special and universal waste are wastes that may not meet the definition of a hazardous waste, but still require special disposal or reclamation procedures.

### 3.2.1	Batteries

The following is a disposal guide for batteries generated by campus operations:

a. Alkaline Batteries

- Alkaline batteries include AAA, AA, A, C, D and 9 volt.

- Disposal: Normal Trash

b. Lead Acid Batteries

- Lead acid batteries are found in autos, trucks, etc.

- Disposal: Do not place in normal trash. Exchange old battery for new one from supplier or contact H&S/RM, ext. 2262, for recycling.

c. Button Batteries

- Button batteries are found in watches, calculators, cameras and other small equipment.  They can contain silver oxide, mercury, lithium or cadmium.  These materials are considered hazardous waste.  The contents can be determined by reading original battery packaging.

- Disposal: Do not place in normal trash.  Return them to the supplier for recycling or contact H&S/RM, ext. 2262, for collection and reclamation. Button batteries can only be recycled if they are segregated on the basis of metal content.  To facilitate this, keep the original packaging to refer to once the battery is spent.

d. Lithium Batteries

- Lithium batteries are found in some electronic equipment.  See original packaging for content information.

- Disposal: Do not place in normal trash.  Return them to the supplier for recycling or contact H&S/RM, ext. 2262, for collection and reclamation. Button batteries can only be recycled if they are segregated on the basis of metal content.  To facilitate this, keep the original packaging to refer to once the battery is spent.

e. Nickel-Cadmium (NiCd) Batteries

- NiCd batteries are found in items including medical equipment, pagers, and cellular telephones.  Check original packaging for content information.

- Disposal: Do not place in normal trash.  Return them to the supplier for recycling (prior arrangement required) or contact H&S/RM, ext. 2262 for collection and reclamation Keep NiCd batteries separate from other batteries during collection.

### 3.2.2	Fluorescent Lamps

Fluorescent lamps contain small quantities of mercury and other metals that are harmful to the environment and to human health.  UWP collects the following lamps for off campus recycling:

- Fluorescent lamps

- Sodium-vapor lamps

- High- and low- pressure mercury vapor lamps

- High intensity discharge (HID) lamps

Facilities Management (FM) collects and stores all used lamps.  Boxes of used lamps must be labeled “Universal Waste” and include the date the first bulbs were placed in the box.  If your department generates any of the above lamps, please contact FM or H&S/RM.  Avoid breakage of lamps.

### 3.2.3	Lighting Ballasts

Lighting ballasts are classified as a special waste and must be collected for recycling.  In addition, older ballasts may contact PCBs.  UWP collects all ballasts and stores them for eventual pickup.  Storage containers for non-PCB containing ballasts must be labeled “Special Waste-Ballasts”.  Containers for PCB containing ballasts must be labeled “Special Waste-Ballasts, Contains PCBs”.

### 3.2.4	Used Oil and Oil Filters

Used oil and filters are classified as a recyclable special waste.  Used oil includes motor oil, hydraulic oils, vacuum pump oils, and other petroleum or synthetic oils.  Oils will be collected for off-site recycling or energy recovery.

All used oil will be stored in the designated above ground storage tank located north of the Facilities Management Center until collected by the recycling vendor.  This tank is an approved steel tank with a concrete spill containment system.

Oil filters must be thoroughly drained to recover the maximum quantity of oil before disposal.  The following procedures described as “hot draining” apply:

- Filters must be drained at a minimum temperature of 60F

- Filter domes must be punctured with a hammer and chisel to enhance draining

- Filters must be drained for a minimum of 12 hours

- Emptied filters must be placed in a designated waste container that is lined with an absorbent and is leak proof

### 3.2.5	Used Antifreeze

Used antifreeze is classified as a recyclable special waste.  All used antifreeze shall be collected for off-site recycling or reconditioning.  Used antifreeze shall be collected and stored in a designated container at the Facilities Management Center and labeled “Waste or used antifreeze”.

### 3.2.6	Infectious Waste

Infectious waste is regulated under Chapter NR 526, Medical Waste Management.  A waste is considered to be an infectious waste if it falls in one of the following categories:

a. Sharps

- Contaminated sharps which are both infectious and may easily cause punctures or cuts in the skin, including but not limited to: hypodermic needles, syringes with needles attached, scalpel blades, lancets, broken glass vials, broken rigid plastic vials and laboratory slides. Contaminated means they have come in contact with blood or other potentially infectious material.

- Unused or disinfected sharps which are being discarded, including hypodermic needles, scalpel blades, lancets and syringes with needles attached.

Note: Only "contaminated" broken glass, plastic vials, laboratory slides, etc. are considered infectious waste.  However, all discarded sharps (contaminated or not) such as hypodermic needles, scalpel blades, lancets and syringes with needles attached are considered infectious waste.

b. Bulk blood and body fluids from humans

"Bulk blood and body fluids" means drippable or pourable quantities or items saturated with blood or other potentially infectious materials.  Determine if the blood or other potentially infectious material is drippable,squeezable, pourable or flakeable.

Departments generating medical waste must properly store the waste until picked up.  Medical waste must be stored in designated “red bags” with the medical waste symbol clearly visible on the outside.  Call H7S/RM for pickup of full bags.  Medical waste will be stored in the hazardous waste storage area until picked up by the waste disposal vendor.

# 0 WASTE MINIMIZATION

Reduction in the quantity generated is the waste management method of choice.  Reduced volume means reduced labor effort, time, and costs.  This section discusses various waste minimizations approaches.

As a small quantity generator, UWP must certify it has made a good faith effort to minimize waste generation each time a manifest is signed.  It is important that all persons and departments generating hazardous waste consider how they can contribute to waste minimization.  The goal is to either prevent the formation or production of pollutants at the source or reduce the amount of hazardous waste that is generated.

## BASIC CONCEPTS

Basic waste minimization options include:

- Waste stream segregation-keep hazardous and non-hazardous wastes clearly separated

- Good housekeeping-prevent contamination of good material, control spillage, etc.

- Inventory control-keep track of materials to prevent duplicate orders, and generating outdated material

- Order chemicals in smaller containers and quantities

- Material substitution-where possible, use a non-hazardous chemical

- Using smaller scale demonstrations

- Modifying specific experiments-use a non-hazardous metal in place of mercury, lead, cadmium, etc.

## 4.2	NEUTRALIZATION OF ACIDS AND BASES

If a liquid is hazardous only because of pH, campus employees may neutralize the solution and pour it down the drain. Use proper equipment including goggles, gloves, and apron and work in a hood.  Add neutralizing agents slowly, stirring constantly.  If you are not familiar with neutralization techniques, do not attempt to neutralize solutions.  Call the Chemistry Lab Manager   (CLM) for assistance.  Report neutralization activities to H&S/RM for regulatory reporting.

- Acidic solutions (pH <5)

- Adjust the pH to 5-9 using a dilute solution (e.g. KOH, NaOH, NaHCO3). Use a pH meter, indicator solution, or pH paper to determine the pH.

- Flush down the drain of a chemical sink with 20 volumes of cool water.

- Basic solutions (pH > 9)

- Adjust pH to 5-9 using a dilute solution (e.g. HCl, H2SO4, HNO3).  Use a pH meter, indicator solution, or pH paper to determine pH.

- Flush down the drain of a chemical sink with 20 volumes of cool water.

Note: For highly concentrated acids, neutralization with a relatively dilute basic solution will take a very large volume of base and a long time.  In this case, consider neutralization using a concentrated basic solution with plenty of ice for an ice bath, performed slowly, and carefully and with constant stirring.  Monitor the temperature of the solution with a suitable thermometer to ensure that the solution doesn't get too hot.  The same is true for neutralizing some concentrated bases.

## 4.3	REUSE/REDISTRIBUTION

Where feasible, reuse or redistributing partial quantities of a chemical to another department or employee is encouraged.  Reuse of chemicals, especially in a laboratory, may not be as easily achieved due to the typical need for higher purity ingredients.  However, chemicals such as acids and bases not contaminated with hazardous constituents can be used for neutralization reactions and used to reduce the volume of corrosive hazardous waste sent out for disposal.  Records of neutralizations must be maintained as described in Section 4.2.

# WASTE STORAGE

This section describes management of waste during storage at accumulation points.

## ACCEPTABLE CONTAINERS

Hazardous waste must be collected in suitable containers.  Contact the CLM or H&S/RM for questions regarding acceptable containers for a given waste stream.  In addition, the CLM can supply containers of various sizes and materials.

- Use only containers that are in good condition and made of or lined with a material that is not reactive or incompatible with the waste being stored.

- Containers must have tight sealing caps or lids.

- Do not use an oversized container that may take a year or longer to fill.

## LOCATION OF CONTAINERS

Containers used for collection and temporary storage of hazardous waste must be appropriately located within a facility or room.  Listed below are guidelines for container placement.

- Place containers in locations where they will not be subject to damage, tipping, or spilling from foot traffic, carts, work activities, etc.

- Laboratory hoods are necessary for containers used for odorous and volatile chemicals.  Do not obstruct the hood opening or rear baffles.

- A designated room has been established for storage of used lamps.

## LABELING

- Remove or deface any old labels.

- Clearly label waste containers with the words “HAZARDOUS WASTE” and identify hazardous constituents as they are added to the container (e.g. “hazardous waste organic solvents, contains toluene and xylene”). Appropriate labels can be obtained from H&S/RM.

- Labels should face forward and be clearly visible for viewing and inspection

- Containers for aerosol cans are labeled “Aerosol Cans Only”

## CONTAINER MANAGEMENT

Hazardous waste collection points must adhere to the following satellite accumulation requirements until the waste is transferred to the campus hazardous waste storage room:

- Waste containers must be placed in some type of secondary container for spill control.  A simple plastic tub capable of holding the contents of the waste containers is acceptable.  For containers 5 gallons or larger, spill absorbent pads and an adequate supply of granular spill absorbent may substitute for a secondary container.

- Keep the waste containers closed at all time, except when adding or removing waste.  Funnels left in the opening of a waste container is considered an open container by regulatory agencies and is not acceptable.

- Handle and store waste containers properly to prevent rupture or leakage.

- Do not mix hazardous waste with non-hazardous waste. Do not mix incompatible wastes.

- Know what to do in the event a spill should occur.  Keep suitable spill control supplies on hand and keep emergency phone numbers posted in labs and work areas. See the UWP Contingency Plan for additional information.

- When a container is full, date the container and contact the CLM at ext. 2633, or H&S/RM at ext. 2262 to arrange for transfer to the hazardous waste storage room within three days.

## STORAGE PERIODS

Regulatory requirements limit storage of hazardous waste to a maximum of 180 days except at satellite collection locations.  Once waste is removed from a waste collection area, the 180 days storage limit takes effect.  Though accumulation points in laboratories or shops do not have a time limitation, to provide for better management of waste streams, the following guidelines have been developed.

### Instruction Laboratory Samples and Wastes

Wastes from teaching labs shall be collected at the end of each teaching period, typically the end of a semester.  Student samples submitted specifically for grading may be retained for one month past the end of the teaching period.

### Research Waste

Waste streams from research activities tend to accumulate steadily over time.  However, the volume generated may vary substantially.  As a minimum, research laboratories shall arrange for waste pickup or delivery of wastes to the CLM at least annually.  Ideally, low volume waste streams should be collected during the summer break period.

### Other

Low volume, routine wastes generated in other areas, including art studios, maintenance shops and paint shops, shall be stored at accumulation locations for no longer than one year regardless of quantity.

# WASTE PICKUP AND REMOVAL

This section outlines the procedures to use for waste pickup and removal.

## 6.1	SCIENCE DEPARTMENTS

Waste generated by the Science Departments are the most diverse and numerous.  This section provides standard procedures for pickup of wastes and guidelines for arranging pickup of specific waste streams.

### Standard Procedures

Most wastes generated by Science Departments will be associated with research and teaching labs in Greenquist Hall.  In general, wastes pickup will be coordinated through the CLM.  The CLM will either take the waste directly to the hazardous waste storage room or to the stock room in GRNQ 372 for characterization or neutralization, or consolidation with other wastes before transfer to the hazardous waste storage room.  Faculty, staff, and PIs shall not attempt to deliver containers of wastes directly to the hazardous waste storage room.  In addition, containers of waste shall not simply be left anonymously in the chemical stock room.

### Research Waste

- Contact the CLM to arrange for pickup.  Describe the nature of the waste.  If safe to do so, the lab manager may grant permission for employees to take the containers of waste directly to GRNQ 372.  Place the containers of waste in the spill containment tubs located on the laboratory bench.

- Containers must be transported to GRNQ 372 on a cart with appropriate spill containment.

- Containers shall not be hand-carried!

### Class Samples

- Prior to the beginning of classes, the CLM will prepare a series of containers in select teaching laboratories for collection of wastes from the various experiments.  Two sets of containers, grouped into two spill containment tubs, will be prepared.  One set will be for experiments generating known hazardous waste streams and the other for non-hazardous or non-contaminated corrosive wastes that can be neutralized.

- The instructor will be responsible for ensuring wastes are placed in the correct collection container and that commingling of hazardous and non-hazardous wastes does not occur.

- At the conclusion of the semester, the CLM will collect the tubs of waste and transfer them to GRNQ 372 for eventual transfer to the hazardous waste storage room, consolidation or neutralization.

- Vials of student experiment samples, typically associated with advanced organic chemistry courses, may be held for up to one month before consolidation and transfer to waste storage.

### Expired and Old Chemicals

Faculty and the CLM should regularly check the inventory of chemicals in their area for expired and unusable containers of chemicals.  Several hazards may arise from excessive storage periods with some chemicals including formation of shock sensitive peroxides, disintegration of containers, leaking, and degradation of labeling.  Contact the CLM or H&S/RM for assistance with removal of expired and old chemicals.

### Laboratory/Studio Cleanouts

Departure or retirement of faculty may result in the need for cleanout of chemicals from research laboratories, art studios, and other work areas.  A serious concern associated with cleanouts is unlabeled or poorly labeled containers of chemicals.  Unlabeled containers of chemicals require considerable effort to identify contents and can present a serious health and safety hazard to employees involved in the cleanout.

- Prior to their departure, faculty responsible for the laboratory or studio to be vacated shall contact the CLM and/or S&H/RM and arrange for a meeting at the location to discuss and view containers of chemicals that will need to be disposed of or returned to stock.

- The contents of all containers must be identified.  The faculty member shall work with the CLM and H&S/RM to identify the contents of unlabeled containers.  If the identity is uncertain, “fingerprint” testing shall be performed to ascertain the physical properties of the chemical prior to removal from the area.

- Any unlabeled container shall be removed from the area prior to re-occupancy.

- Usable chemicals shall be inventoried and returned to stock.

## ART DEPARTMENT HAZARDOUS WASTE

Wastes from the Art Department consist of old paints, copper contaminated ferric chloride solutions, and used solvents.  When containers are full, contact H&S/RM for pickup and transfer to the hazardous waste storage room.

- A labeled container has been placed in the print studio in CA D140 for collection of waste ferric chloride.

- Containers are available in CA D144 and D146 for collection of waste solvents.

- Old or unusable paints will be collected on an as-needed basis.  Contact S&H/RM for pickup arrangements.

- Steel aerosol cans may be taken to the collection container located in the theater set construction area or MOLN D134.

## FACILITIES MANAGEMENT AND RESIDENCE LIFE HAZARDOUS WASTE

Waste from FM or Residence Life (RL) may consist of old oil-based paints, used solvents, old or contaminated pesticides, contaminated oils, aerosol cans and several special and universal wastes.

- Old oil-based paints will be collected in designated containers in the paint shops in the Facilities Management Center and MOLN D211.  Used non-chlorinated solvents will also be collected in these containers.  When the containers are full, FM personnel shall contact H&S/RM directly for pickup.

- Old and contaminated pesticides will be collected and transferred to the hazardous waste storage room on an as-needed basis.

- In general, most oils used by FM (lubricants, engine oils, etc.) can be collected and taken to the used oil storage tank for recycling.  Oils from transformers or other electrical equipment will need to be screened for PCBs.  PCB containing oils will be transferred to the hazardous waste storage room.  Oils contaminated with chlorinated solvents will need to be treated as a hazardous waste and transferred to the hazardous waste storage room.

- Special and universal wastes are discussed in Section 3.2

- Steel aerosol cans shall be taken to the collection containers located in the FMC paint shop, vehicle repair shop, the maintenance shop in Wyllie D241, or the shop areas in the University Apartments and Ranger Hall.

## MISCELLANEOUS

On occasion, old or unused chemicals may need to be removed from classrooms, darkrooms, storage areas, etc.  When containers of chemicals are found, employees should contact H&S/RM.  H&S/RM will inspect the containers to determine the proper disposal procedures and arrange for removal.

# TRAINING

## FACULTY AND ACADEMIC STAFF

Faculty and academic staff responsible for generating hazardous waste or overseeing activities that generate hazardous waste will receive basic training on hazardous waste management.  The training will be based upon a University of Wisconsin System Office of Safety and Loss Prevention presentation entitled “Environmental Leadership”.  The presentation covers information necessary for proper management of laboratory hazardous waste.  H&S/RM will schedule an annual training session for new staff prior to the beginning of the academic year.

In some instances, a new faculty or staff member may not be able to attend the scheduled training session.  These employees may obtain the same information via a web-based training program.  A registration sheet is available to document the training.  The training program and registration sheet are available at http://www.uwp.edu/admin/safety/Training/Online.htm.

## STUDENTS

Undergraduate students must receive training and information sufficient to ensure waste management protocol will not be violated in teaching laboratories.  Information on proper experimental waste procedures should be provided as part of the student safety orientation.  At the beginning of each experiment, students should also be reminded to use the designated waste collection container.

## GRADUATE RESEARCH

Faculty and academic staff responsible for oversight of graduate research students shall ensure the students receive training on hazardous waste management.  The training shall be based upon a University of Wisconsin System Office of Safety and Loss Prevention presentation entitled “Environmental Leadership”.  Where possible, these students should attend the same annual training session as new staff prior to the beginning of the academic year.

If a student is unable to attend the scheduled training session, they may obtain the information via a web-based training program described in Section 7.1.  The registration sheet should be used to document the training.  The training program and registration sheet are available at http://www.uwp.edu/admin/safety/Training/Online.htm.

## FACILITIES MANAGEMENT AND RESIDENCE LIFE STAFF

FM staff will receive periodic training regarding the proper collection, storage and pickup of hazardous wastes.  Training will be included with annual refresher training provided to FM and RL personnel.

# INSPECTIONS

## ANNUAL WALKTHROUGHS

On an annual basis, S&H/RM will conduct walkthrough inspections of each department to verify compliance with the requirements of this program.

## REPORTS

A report of findings from the annual inspection will be prepared and submitted to the Vice Chancellor of Administrative and Fiscal Affairs, the Dean of the School of Arts and Sciences, department chairs and the Director of Facilities Management and Director of Student Life.